## Foglio1
Laryngeal mask airways
Published on: 19 November 2020 - Version: 1
WHO Item name: | Required technical specifications: | Dimensions / Sizes / Presentation: | Material: | Certificates for product safety and quality assurance, as requested or equivalent
Laryngeal mask airway (LMA), size 2, sterile, single use | Standard laryngeal mask airway used for patients undergoing general anaesthesia or as a resuscitation device in ICU departments. Maximum cuff volume: 10 mL. | Mask size 2: children 10–20 kg. | Flexible medical grade PE. Latex-free. | SO 11712:2009(en) Anaesthetic and respiratory equipment – Supralaryngeal airways and connectors.
Laryngeal mask airway (LMA), size 3, sterile, single use | Standard laryngeal mask airway used for patients undergoing general anaesthesia or as a resuscitation device in ICU departments. Maximum cuff volume: 20 mL. | Mask size 3: children/adult 30–50 kg. | Flexible medical grade PE. Latex-free. | SO 11712:2009(en) Anaesthetic and respiratory equipment – Supralaryngeal airways and connectors.
Laryngeal mask airway (LMA), size 4, sterile, single use | Standard laryngeal mask airway used for patients undergoing general anaesthesia or as a resuscitation device in ICU departments. Maximum cuff volume: 30 mL. | Mask size 4: adult 50–70 kg. | Flexible medical grade PE. Latex-free. | SO 11712:2009(en) Anaesthetic and respiratory equipment – Supralaryngeal airways and connectors.