## Foglio1
Catheter, nasal, 40 cm, with lateral eyes, sterile, single use
Published on: 19 November 2020 - Version: 1
WHO Item name: | Required technical specifications: | Dimensions / Sizes / Presentation: | Material: | Certificates for product safety and quality assurance, as requested or equivalent
Catheter, nasal, 40 cm, with lateral eyes, sterile, single use. Set with different sizes | Nasal catheter for the administration of medical oxygen. Open distal end with multiple lateral holes , or a central eye and distal cross perforation. Proximal end features a straight conical connector available. Each set include different sizes. At least the following sizes provided in each set: 10 Fr, 12 Fr, 14 Fr, 16 Fr, 18 Fr. | Length: 40 cm. ID:10 Fr, 12 Fr, 14 Fr, 16 Fr and 18 Fr. | PVC. Proximal end: polyester piece of foam. | ISO/DIS 23368: Anaesthetic and respiratory equipment – Low flow nasal cannula for oxygen therapy. ISO/DIS 17256: Anaesthetic and respiratory equipment – Respiratory therapy tubing and connectors.